## Retinotopy
Gardner lab fMRI retinotopy experiment checklist
Session ID: s30020150304
Subject:	s300
Operator:	Steeve
Date	2015-04-03
Time	6:00 – 9:00 pm
Notes:	Retinotopy with 16 (or 32) channels coils and projector

Informed consents & scan log
Check	Task		Notes
	Explain experiment to subject
	Ask to fill and sign CNI form
	Ask to fill and sign lab consent form

Setup
Check	Task		Notes
	Setup “EIKI” projector	Or setup the 47” LCD
	Turn on “Eiki LC-WUL100L projector” / (proj behind door in scanner's right corner) / - Power power strip on (behind proj.) / - Switch proj. on (first button right side proj.)	Turn on 47” LCD (behind scanner) (button back of screen)
	Place rear-proj. screen just behind head coil (proj. screen is in a bag in the scanner room in the door near the sheets)
	Place large mirror behind scanner bed in front of the LCD panels and align it such that the black edges of the bores do not appear on the projection screen (should center the screen)

	Setup 32 channels coils	Setup 16 channels coils
	32 channels coil is default setup. If 16 channels coil is setup, unplug it and setup 32 channels coil	Unplug 32 and plug 16
	Adjust mirrors to improve subject field of view (if needed)
	Connect response device (one with 4 aligned buttons) to black cable near scanner bed

Check	Setup stim computer		Notes
	Connect “Eiki projector” HDMI cable to computer	Connect “Big Screen” HDMI to computer (stimulus should appear both on 47” LCD and control room LCD)
	Connect Black Box “USB TO COMPUTER” USB to computer
	Connect white box microcontroller USB to any computer (for power)
	Connect white box microcontroller “slice trigger” BNC to control room's “slice trigger” BNC (from red button trigger box)
	Connect “white box microcontroller” BNC labelled “trigger out” to Black Box “BNC TO TRIG OUT”
	For keyboard responses: / Connect “FORP” USB to computer	For TTL responses: / Connect “FORP TTL OUT” cable to / Black box “DB9 TO FORP”
	Configure “FORP” : / - push “FORP” button / - “change mode” / - yes / -AutoConfig / -Select HID KEY 12345 / - Test response device and write down numbers / (yellow: 2 green are 3)	Configure “FORP” : / - push “FORP” button / - “change mode” / - yes / -AutoConfig / -Select Serial (first option) / - Test response device and write down numbers

	Check screen parameters (mglEditScreenParams)
	Open matlab
	Write “mglEditScreenParams”
	ComputerNum : “2”
	ComputerName : “steeves-macbook-pro.local”
	DisplayName : “fMRIproj16” (called by your stim code).	“cniLCD”
	Ok
	UseCustomScreenSettings : “tick”
	ScreenNumber: “2” (displays on proj.)
	ScreenWidth : “1920”
	ScreenWidth : “1200”	“1080”
	FramesPerSecond : “60”
	DisplayDistance: “36” (for 16, 34 for 32 channels)	“277”
	DisplaySize: “50.3” / “28.4” (proj screen size)	“103.8” , “58.6” (LCD size)
	CalibProportion: “0.36”
	SquarePixels : “unticked”
	ShiftOrigin : “0 0”
	Crop : “unticked”
	Scale : “unticked”
	DisplayPos : “0 0”
	AutoCloseScreen : “unticked” (never close the screen during the experiment)
	HideCursor : “✓”
	Check if proj. screen need vert / horiz flip? If No (untick)
	BacktickChar: “empty”
	ResponseKeys : “2 3”
	EatKeys : ✓
	SavedData : “1” (! important ! check that this is 1)
	CalibType : “None”
	DisplayCalib : “Display monitor calibration”
	Monitor Gamma : “empty”
	EyeTrackerType : “Eyelink”
	DiginUse : ✓
	DiginPortNum : “2” (listen to pulses from NI device “port 2” BNC)
	DiginAcqLine : “0” (listen to pulses via NI device line 0)
	DiginAcqType : “1” ( timestamp when pulse goes high)
	DiginResponseLine : “1 2”
	DiginResponseType : “1”
	SimulateVerticalBlank : “unticked”
	MustSetSID : ✓
	SidValidIntervalinHours: “1”
	WriteTaskLog : ✓
	Ok

	Center stimulus on projector screen
	in mglEditScreenParams box check “Test screen Params” / - press enter twice (visual angles screen appears)
	Adjust the large mirror at the back of the scanner to get a max of the screen
	Run a stim (e.g., wedges) to make sure a cycle cover the full screen

Check	Install subject on the scanner bed		Notes
	Give subject earplugs
	Position linen on scanner bed and under subject head
	Install subject on bed
	Put vitamin E on subject's right forehead (box is in the control room, “whole food vitamin E”)
	Position cushions on both sides of head to reduce head movements
	Pull the coils headset down
	Turn on the laser for landmarks (“alignment” button)
	Move subject up (“up arrow”) until laser cross is in between subjects eyes
	Push “Landmarks” button (This sets subject position on scanner screen to 0)
	Push “Advance to scan” button once (middle) to push subject in scanner

Check	Enter subject info / Retrieve experimental sequences (CNI software)		Notes
	Click top left corner icon: / - Enter subject name (enter SID) / - Date of birth / - Weight (mandatory) / - Sex / - # subject ID: (mandatory, target folder, e.g., jlg/Retinotopy) / - Operator name / - “Start Exam”
	Select protocol (e.g., Gardnerlab Retinotopy or most recent) / - Move it to right basket / - “Accept”
	- Click "accept" (for "first level") instead of "Normal mode" (!! important !!)

Run experiment
Scan files / (e.g.,T1w 9mm …)	Anatomical and Shim Sequences (CNI softw.)		Notes
Localizer (find subject head 0:21s)
“3Plane_Loc_fgre”	- click on sequence (left, under “Task”) / - click “save Rx” / - click “scan” (short, do not do anything during the scan !!)

HR 3D anatomy : T1w 0.9mm (1st time only, canonical for surface segmentation, 4-5 min)
“T1w_9mm_sag”	- click on sequence (left, under “Task”) / - click “setup” / - click on image and center brain within slab / - click “save Rx” / - click “scan”

LR 3D session anatomy : T1w 1.2 mm (all subsequent sessions, 1-2 min)
“T1w_12mm_ax”	- click on sequence (left, under “Task”) / - click "save Rx" / - click “scan” (1-2 min)

Prescribe fMRI sequence parameters
	- double click on fMRI sequence (left, under “Task”) / - adjust slice coverage (slice number = 19 but if Mux2 multiply by 2 to view coverage then set back to 19) – Enter / - check that prescribed slice # is < max # of slices (if not sthg wrong, restart session with “first level mode”) / - check that # of acquisition is 1 (not 2 ! ) / - adjust slice orientation to get the max of early visual cortex, parietal and temporal cortex / - click image side arrows (up and down) to move through different depths and check that slab coverage is good / - go “multiphase” - “phase per location” : Enter # of volumes (e.g.., 189) / - click “leftward arrow” below top image near scan duration (opens new panel)
	- check scan duration: correct ?
	- check TR : correct ?
	- click “advanced” and check that “start scan trigger” is set to “0” and "scope trigger" to 1
	- click “save Rx”, (done)

run High Order Shim (HOS) with fMRI sequence parameters
“HOS_WB_HRBRAIN”	- click HOS sequence / - click “save Rx” (prescribes fMRI sequences parameters to HOS) / - click “scan” (box opens – Center image within red circle) / - click “calculate Shims” (“predicted RMS” and “current RMS” values should be close) / - click “Done” / - repeat “scan” -”same series” - “calculate” - “done” (check RMS values again)

Scan files / (e.g., BOLD MUX2 ARC2 2.5 mm …)	Run fMRI sequences	Stim file / (150324_stim01.mat)	Notes / (e.g., wedges)
	Create identical fMRI sequences for the wedges and rings stimuli and check: / - click on your first fMRI sequence (CNI softw.) / - 2.4 mm iso vox.res / - 1.4s TR / - 178 vols (“phases per location”) / - 4:09 min / - “Save Rx”
	- click “downward arrow” near “Scan button” / - click “prep scan” (wait for “prepped”) / - run in matlab “mglSetSID('s301')” / - run in matlab :
	gruRetinotopy('displayName=fMRIproj16','wedges=1','direction=1','numCycles=10','stimulusPeriod=24','stepsPerCycle',17,'doEyeCalib=-1','initialHalfCycle=1');
	Press “enter” - “scan” (CNI soft, first pulse starts your stim))
	Check cycles periods, # cycles, was stim file saved ?
	While grey screen is still open prep next scan

	- click “downward arrow” near “Scan button” / - click “prep scan” / - run in matlab :
	gruRetinotopy('displayName=fMRIproj16','wedges=1','direction=-1','numCycles=10','stimulusPeriod=24','stepsPerCycle',17,'doEyeCalib=-1','initialHalfCycle=1');		CW wedges
	Press “enter” - “scan” (CNI soft, first pulse starts your stim))
	Check cycles periods, # cycles, was stim file saved ?
	While grey screen is still open prep next scan

	- click “downward arrow” near “Scan button” / - click “prep scan” / - run in matlab :
	gruRetinotopy('displayName=fMRIproj16','rings=1','direction=1','numCycles=10','stimulusPeriod=24','stepsPerCycle',17,'doEyeCalib=-1','initialHalfCycle=1');		Expanding rings
	Press “enter” - “scan” (CNI soft, first pulse starts your stim))
	Check cycles periods, # cycles, was stim file saved ?
	While grey screen is still open prep next scan

	- click “downward arrow” near “Scan button” / - click “prep scan” / - run in matlab :
	gruRetinotopy('displayName=fMRIproj16','rings=1','direction=-1','numCycles=10','stimulusPeriod=24','stepsPerCycle',17,'doEyeCalib=-1','initialHalfCycle=1');		Contracting rings
	Press “enter” - “scan” (CNI soft, first pulse starts your stim))
	Check cycles periods, # cycles, was stim file saved ?
	While grey screen is still open prep next scan

	- click “downward arrow” near “Scan button” / - click “prep scan” / - run in matlab :
	gruRetinotopy('displayName=fMRIproj16','wedges=1','direction=1','numCycles=10','stimulusPeriod=24','stepsPerCycle',17,'doEyeCalib=-1','initialHalfCycle=1');		CCW wedges
	Press “enter” - “scan” (CNI soft, first pulse starts your stim))
	Check cycles periods, # cycles, was stim file saved ?
	While grey screen is still open prep next scan

	- click “downward arrow” near “Scan button” / - click “prep scan” / - run in matlab:
	gruRetinotopy('displayName=fMRIproj16','wedges=1','direction=-1','numCycles=10','stimulusPeriod=24','stepsPerCycle',17,'doEyeCalib=-1','initialHalfCycle=1');		CW wedges
	Press “enter” - “scan” (CNI soft, first pulse starts your stim))
	Check cycles periods, # cycles, was stim file saved ?
	While grey screen is still open prep next scan

	Create new fMRI sequences (right click – duplicate) for bars stimuli and check: / - 2.4 mm iso vox.res / - 1.4s TR / - 160 vols (“phases per location”) / - 4:43 min / - “Save Rx”
	- click “downward arrow” near “Scan button” / - click “prep scan” / - run in matlab :
	gruRetinotopy('displayName=fMRIproj16','bars=1','fixedRandom=1','stimulusPeriod=24','stepsPerCycle',17,'blanks=3','doEyeCalib=-1');		bars
	Press “enter” - “scan” (CNI soft, first pulse starts your stim))
	Check cycles periods, # cycles, was stim file saved ?
	While grey screen is still open prep next scan

	- click “downward arrow” near “Scan button” / - click “prep scan” / - run in matlab :
	gruRetinotopy('displayName=fMRIproj16','bars=1','fixedRandom=1','stimulusPeriod=24','stepsPerCycle',17,'blanks=3','doEyeCalib=-1');		bars
	Press “enter” - “scan” (CNI soft, first pulse starts your stim))
	Check cycles periods, # cycles, was stim file saved ?
	While grey screen is still open prep next scan

	- click “downward arrow” near “Scan button” / - click “prep scan” / - run in matlab :
	gruRetinotopy('displayName=fMRIproj16','bars=1','fixedRandom=1','stimulusPeriod=24','stepsPerCycle',17,'blanks=3','doEyeCalib=-1');		bars
	Press “enter” - “scan” (CNI soft, first pulse starts your stim))
	Check cycles periods, # cycles, was stim file saved ?
	While grey screen is still open prep next scan

	- click “downward arrow” near “Scan button” / - click “prep scan” / - run in matlab :
	gruRetinotopy('displayName=fMRIproj16','bars=1','fixedRandom=1','stimulusPeriod=24','stepsPerCycle',17,'blanks=3','doEyeCalib=-1');		bars
	Press “enter” - “scan” (CNI soft, first pulse starts your stim))
	Check cycles periods, # cycles, was stim file saved ?
	While grey screen is still open prep next scan

	End exam (click arrow top left panel)

	Get data in NIMS
	go to https://cni.stanford.edu/nims/ and login